## Motor Inventory
IRM-20-001 - Lot 5 Motors Inventory
Item | Pallet# | HP | Description | RPM | Phase | Voltage | Frame | Type | Qty | Cond | Mnfr | MPN
1 | MCA | 1 | Motor, Electric | 1180/890 | 3 | 460 | 365T | CT | 1 | U | US Electrical Motors | G78165/X02W3410353R-1
2 | MBP | 1 | Motor, Electric | 3450 |  | 460 | CAT# K221 |  | 1 | U | GE | 5K38PN48
3 | MBP | 1 | Motor, Electric | 1725 |  | 115 | CAT# H456 |  | 1 | U | GE | 5KH35LNB1664JX
4 | MBZ | 2 | Motor, Electric | 860 | 3 | 460 | 210LP | P | 1 | U | Reliance Electric | 1YWB76532A1RU
5 | MBQ | 3 | Motor, Electric | 1145 |  | 230/460 | 213T, | 1K | 1 | U | Toshiba | B0036YGF2AO
6 | MCL | 3 | Motor, Electric | 3530 | 3 | 230/460 | 182T | TCE | 1 | U | US Electrical Motors | Y09Y222R03OH
7 | MCK | 5 | Motor, Electric | 3530 | 3 | 460 | 213T | IKKH | 1 | U | Toshiba | 2J4005L3A1NJ
8 | MBZ | 10 | Motor, Electric | 1755 | 3 | 230/460 | 215T | TCE | 1 | U | US Electrical Motors | Y06Y037P362M
9 | MCL | 10 | Motor, Electric | 3510 | 3 | 460 | 215T | P | 1 | U | Reliance Electric | P21G5278B
10 | MBO | 15 | Motor, Electric | 3530 | 3 | 460 | 254T | P | 1 | U | Reliance Electric | 41CP25527201G1XY/P25G5272C
11 | MBO | 15 | Motor, Electric | 3530 | 3 | 460 | 254T | IKKW | 1 | U | Toshiba | B0152FLF3BHWJ
12 | MBO | 15 | Motor, Electric | 3530 | 3 | 460 | 254TZ |  | 1 | U | Toshiba | B0152FLF3BHHJ01
13 | MBQ | 15 | Motor, Electric | 3525 |  | 460 | 254TZ | P | 1 | U | Reliance Electric | 01MAN65175G001AB
14 | MBW | 15 | Motor, Electric | 1760 | 3 | 230/460 | C254T | F | 1 | U | Sterling Electric | TMTR8009
15 | MBZ | 15 | Motor, Electric | 1770 | 3 | 230/460 | 254T | TCE | 1 | U | US Electrical Motors | Y12Y270R033M
16 | MBO | 15 | Motor, Electric | 3530 | 3 | 460 | 254T | 1KKH | 1 | U | Toshiba | B0152FLF3BHHJ01
17 | MAA | 20 | Motor, Electric | 1175 | 3 | 460 | 286VPAZ | TYCE | 1 | U | US Electrical Motors | A05A0660082R-1
18 | MBW | 20 | Motor, Electric | 1750 | 3 | 230/460 | 254T | F | 1 | U | Sterling Electric | TMTR3150
19 | MCB | 20 | Motor, Electric | 3515 | 3 | 460 | 256T | P | 1 | U | Reliance Electric | 07GP25527301G1PY/P25G5273C
20 | MCF | 20 | Motor, Electric | 3545 | 3 | 230/460 | 256T | TCE | 1 | U | US Electrical Motors | X09X199R002M
21 | MCK | 20 | Motor, Electric | 1175 | 3 | 230/460 | 286T | TCE | 1 | U | US Electrical Motors | 58358MOD
22 | MAU | 25 | Motor, Electric | 3520 | 3 | 460 | 284TS | TKKH | 1 | U | Reliance Electric | 2K4025L1A4BAKP
23 | MAA | 30 | Motor, Electric | 1190 | 3 | 460 | 326VP | TVS | 1 | U | US Electrical Motors | A05A0590848R-1
24 | MAH | 30 | Motor, Electric - Induction Motor | 3600 | 3 | 460 | 404S |  | 1 | U | Westinghouse
25 | MBJ | 30 | Motor, Electric | 1175 | 3 | 460 | 326T | KS | 1 | U | GE | 5K6326XAA30GW
26 | MCD | 30 | Motor, Electric | 1775 | 3 | 460 | 286TPA | TUCE | 1 | U | US Electrical Motors | H13147/A02Z3480719R-1
27 | MCI | 30 | Motor, Electric | 1765 | 3 | 460 | 286T | P | 1 | U | Reliance Electric | 36GP28527901G1WZ
28 | MCK | 30 | Motor, Electric | 1775 | 3 | 460 | 286T | CE | 1 | U | US Electrical Motors | Z06Z122R008R-6/R820A
29 | MAH | 40 | Motor, Electric | 1775 | 3 | 460 | 324T | P | 1 | U | Reliance Electric | 15MN325245G004RZ/P32C5245A
30 | MAK | 40 | Motor, Electric | 3560 | 3 | 460 | 324TS | P | 1 | U | Reliance Electric | 13MN325243G005QZ/P32G5243A
31 | MAK | 40 | Motor, Electric | 3560 | 3 | 460 | 324TS | P | 1 | U | Reliance Electric | 6024934G008BF/6204934
32 | MAL | 40 | Motor, Electric | 3560 | 3 | 460 | 324TS | P | 1 | U | Reliance Electric | 21MN3252435EE/P3265243C
33 | MBY | 40 | Motor, Electric | 1775 | 3 | 230/460 | L324TP12 | KS | 1 | U | GE | Note: "I&E Motor"
34 | MCB | 40 | Motor, Electric | 3535 | 3 | 460 | 364UP | JU | 1 | U | US Electrical Motors | 673483/W09W1800612R-1
35 | MCE | 40 | Motor, Electric | 1775 | 3 | 460 | 324T | P | 1 | U | Reliance Electric | 01MAN23941G002QX
36 | MCL | 40 | Motor, Electric | 1760 | 3 | 220/440 | 364U | RGZZ | 1 | U | Allis Chalmers | 41
37 | MAE | 50 | Motor, Electric | 3535 | 3 | 460 | 326TS | R6ZEESDX | 1 | U | Siemens | 1LA03262EE42
38 | MBX | 50 | Motor, Electric - Verticle Mount | 3530 | 3 | 460 | 326LP | RGZVILESO | 1 | U | Siemens | 1LA03262LE40
39 | MCI | 50 | Motor, Electric | 3555 | 3 | 460 | 326TS | P | 1 | U | Reliance Electric | 37MN325244G001WY
40 | MCJ | 50 | Motor, Electric | 3555 | 3 | 460 | 326TS | P | 1 | U | Reliance Electric | 01MAN40919G002ZY
41 | MCL | 50 | Motor, Electric | 1775 | 3 | 460 | 326T | P | 1 | U | Reliance Electric | 35MN-325246G009VY/P32G5246A
42 | MCA | 60 | Motor, Electric | 3565 | 3 | 460 | 364TS | P | 1 | U | Reliance Electric | 05NN365232G188
43 | MAL | 75 | Motor, Electric | 1775 | 3 | 460 |  | TKKH | 1 | U | Toshiba | B0754FLF3BHHJ01
44 | MCE | 75 | Motor, Electric | 3545 | 3 | 460 | 365TS | TKKH | 1 | U | Toshiba | B0752FLG3BHHJ01
45 | MCH | 100 | Motor, Electric | 1780 | 3 | 460 | 405T | TCE | 1 | U | US Electrical Motors | X03X026R078M
46 | MAD | 125 | Motor, Electric | 1785 | 3 | 460 | 444T | P | 1 | U | Reliance Electric | 01MAN26786G001UX
47 | MAI | 125 | Motor, Electric | 1190 | 3 | 460 | 447T | P | 1 | U | Reliance Electric | 5877962A-CD
48 | MAJ | 125 | Motor, Electric | 1785 | 3 | 460 | 444T | P | 1 | U | Reliance Electric | 01MAN26786G02VX
49 | MAZ | 150 | Motor, Electric | 1786 | 3 | 2300/4000 | 4EB-449TS | P | 1 | U | Reliance Electric | VNQ00406A10T
50 | MBD | 150 | Motor, Electric | 1785 | 3 | 460 | 445T | TKKM | 1 | U | Toshiba | B1504FLF4BSHJ01
SELLER DOES NOT BIND ITSELF TO AWARD A SALES AGREEMENT TO THE HIGHEST BIDDER. GOODS BEING OFFERED FOR SALE MAY NOT NECESSARILY BE AWARDED FOR SALE AFTER THE SUBSEQUENT ANALYSIS OF BIDS. SELLER RESERVES THE RIGHT TO WITHDRAW ANY ITEM FROM THE LOT ON OFFER.